## Instructions for Use
AAFS Standards Resources and Training
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions, an on-demand training webinar and instructional videos.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASB 020-2018 1st Ed
ANSI/ASB 020-2018 First Edition
Standard for Validation Studies of DNA Mixtures, and Development and Verification of a Laboratory’s Mixture Interpretation Protocol
Discipline: | Biology/DNA
Checklist version: | V1.2
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Requirements | 4 | Section Title
Requirements | 4.1 | Informational Text | Refer to Annex B, Requirements – Supporting Information, for additional normative information on the following requirements.
Requirements – Supporting Information | Annex B | Requirement | The following additional information is provided to aid laboratory personnel responsible for conducting and evaluating validation studies, the development of the DNA interpretation protocol for the laboratory, and the validation of the laboratory protocol, as well as anyone responsible for assessing if the requirements are sufficiently met by the laboratory. It is recognized that each laboratory performing DNA testing has individual case- and sample-acceptance policies and uses different technologies, methods, and protocols to generate DNA data. Specific studies conducted and approaches used, the type of data evaluated, and the details of the protocols will vary between laboratories. Repeated testing and data analysis are critical to the understanding of variability. While specific requirements for the minimum number of studies and sample sets used for the validation studies and the verification process are not detailed in this standard, the laboratory shall perform sufficient replicate studies to address the variability inherent to the various aspects of DNA testing, data generation and the analysis and interpretation of the data. Additional guidance may be available in the references provided in the Bibliography (See Annex C).
Requirements | 4.2 | Requirement | The laboratory shall perform DNA mixture studies as part of the internal validation to support interpretation protocols prior to their use for casework samples in the laboratory. The mixture studies shall include, at a minimum, mixed DNA samples that:
Requirements | 4.2.1 | Requirement | Are representative of those typically encountered and interpreted by the testing laboratory.
Requirements | 4.2.2 | Requirement | Span the dynamic range of the detection platform.
Requirements | 4.2.3 | Requirement | Include each number of contributors to be interpreted by the laboratory.
Requirements | 4.2.4 | Requirement | Are constructed from extracted DNA samples of known origin (having known genotypes or sequences, etc.) combined: a) in varied input ratios based on the estimated DNA template amounts of the individual contributors; and b) with varied degrees of allele sharing. NOTE The use of known samples allows for the assessment of observed versus expected data.
Requirements – Supporting Information | Annex B Section 4.2 | Requirement | The samples used for mixture validation studies shall include a range of DNA input, from low template (i.e., where stochastic effects occur) to high template, and a range of contributor numbers and ratios. Some mixtures shall be constructed to provide data with high vs. low allele sharing. (e.g., by combining DNA from close relatives such as a parent and a child). Using known samples created under specified conditions permits the laboratory to assess observed versus expected data (e.g., for STR testing, genotypes detected, peak heights with associated ratios of input DNA and allele sharing, and estimated number of contributors) and determine the accuracy and limitations of the testing and interpretation parameters (e.g., detection/analytical threshold, stochastic threshold, peak height ratios, number of contributors). Validation sample mixture ratios should be based on the DNA template amounts of the individual contributors, rather than biological fluid amounts, to provide more consistent sample preparation and evaluation. The phrase “dynamic range of the detection platform” is intended to cover all options permitted in the laboratory for the use of the specific detection platform with the range of samples tested in the laboratory. For example, a laboratory using capillary electrophoresis for detection of results must validate all permitted injection times, voltages, sample input volumes, etc. and have appropriate verified interpretation protocols for all available parameters. If the laboratory intends to interpret DNA mixture data resulting from testing degraded DNA, the laboratory shall conduct internal validation studies with mixtures of degraded DNA and/or use documented data generated from other source(s) using the same testing system and parameters as support for the interpretation and comparison protocol. Internal validation studies conducted with known inhibitors added are only required if the laboratory will typically be testing DNA samples containing the known inhibitor and that inhibitor has an effect on the data generated with the test system used.
Requirements – Supporting Information | Annex B Section 4.2 cont'd 1 | Requirement cont'd | If the laboratory protocol allows for the interpretation of mixed DNA data for up to four contributors, the supporting validation studies shall include mixed DNA samples from two, three, and four contributors. This does not preclude including a subset of mixtures in the validation that contain more than four contributors. If the laboratory has not performed any validation studies using five- or more-person mixtures, the mixture interpretation protocol shall state that only DNA samples assumed to contain four or fewer contributors and no mixed DNA data assumed to contain five or more contributors may be interpreted.
Requirements | 4.3 | Requirement | The data from the validation studies performed by the laboratory shall be the basis for the interpretation parameters and protocols developed by the laboratory and shall provide guidance for the types of mixed DNA profiles that will be interpreted by the laboratory. The studies shall:
Requirements | 4.3.1 | Requirement | Support all of the interpretation methods and protocols used for DNA mixture analysis. The validation summary shall describe how the data from the validation studies performed led to the parameters used in the interpretation protocol.
Requirements | 4.3.2 | Requirement | Aid in assessing and defining the limitations of the methodologies used for the range of samples to be tested and the interpretation of the data generated. NOTE Limitations may result from a number of factors including sample degradation and inhibition, the number of contributors that may be interpreted, and stochastic effects.
Requirements | 4.3.3 | Requirement | Establish testing methodology and interpretation parameters for samples containing mixtures of DNA, including criteria for establishing the minimum and assumed number of contributors to a DNA mixture.
Requirements – Supporting Information | Annex B Section 4.3 | Requirement | The data from the validation studies shall be the basis for the interpretation parameters and protocol developed by the laboratory and shall provide guidance for interpreting all types of mixtures including, but not limited to, those DNA samples that contain limited data, potential stochastic effects, and high numbers of contributors. The results of the studies shall be used to establish an assumed number of contributors to a DNA mixture if necessary for interpretation and comparison. Limitations on data interpretation and criteria for declaring DNA data unsuitable for interpretation or comparison shall be defined in the protocol and shall be based on the validation studies performed in the laboratory along with information or data from published scientific literature from other appropriate scientific resources, where available. The validation summary shall include documentation that makes it clear how the validation studies performed led to the parameters described in the interpretation protocol.
Requirements | 4.4 | Requirement | The laboratory shall verify and document that the mixture interpretation protocols developed from the validation studies generate reliable and consistent interpretations and conclusions for the types of mixed DNA samples typically encountered by the laboratory.
Requirements | 4.4.1 | Requirement | Verification of the mixture protocols shall be performed on mixed DNA samples of known origin that are different from those in the initial validation studies used to establish the protocol. Verification of the mixture interpretation protocol shall demonstrate that its use results in the correct inclusion of true contributors, exclusion of non-contributors, and the parameters considered in the interpretation protocols. NOTE Parameters may include, but are not limited to, assessment of the number of contributors, and evaluation of contributor ratios.
Requirements | 4.4.2 | Requirement | Verification shall include a demonstration of consistency in the analysis and interpretation of mixed DNA data among analysts in the laboratory or laboratory system.
Requirements | 4.4.3 | Requirement | Verification shall be performed on new, existing, and modified mixture interpretation protocols.
Requirements | 4.4.4 | Requirement | Verification of the protocol shall be performed by individuals in a blinded manner without knowledge of the expected results.
Requirements – Supporting Information | Annex B Section 4.4 | Requirement | For verification of the mixture interpretation protocol, the laboratory shall use data (e.g., electropherograms, sequences) from DNA mixtures generated and processed under similar testing conditions to those routinely used by the laboratory. The data for all contributors to the DNA mixtures used in the verification shall be known and available for the assessment of the data and the proposed interpretation protocol. DNA mixture data from different sets of contributors than used in the initial validation studies shall be used to verify the protocol. These supplemental mixtures shall span the range of data anticipated to be interpreted by the laboratory. The demonstration that the use of the various testing and interpretation parameters (e.g., variable injection times, number of contributors, mixture ratios) available in the laboratory protocol result in correct conclusions (i.e., inclusion of true contributors and exclusion of non-contributors to the mixture, and consistency for making “inconclusive” determinations) is required for verification of the protocol. The validation of the protocol shall be completed prior to implementation of the protocol for casework. The laboratory shall define the acceptable range of variability in the interpretation of DNA mixtures for use in the evaluation of the consistency within the laboratory. Additional validation studies and/or protocol development shall be necessary if deficiencies in the protocol or inconsistencies within the laboratory are identified through this verification process.
Conformance | 5 | Requirement | Documented conformance to these requirements need to be: (1) approved by the laboratory’s DNA Technical Leader or other appropriate personnel (2) communicated to all analysts during training, and (3) made readily available for review (e.g., by auditors or inspectors, stakeholders who use reports generated by the DNA mixture test protocols and parameters, etc.).
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics