## Instructions for Use
AAFS Standards Resources and Training
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions, an on-demand training webinar and instructional videos.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASTM E2329-17
ANSI/ASTM E2329-17
Standard Practice for Identification of Seized Drugs
Discipline: | Seized Drugs
Checklist version: | V1.2
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Categories of Analytical Techniques | 5 | Section Title
Categories of Analytical Techniques | 5.1 | Informational Text | For the purpose of this practice, techniques for the analysis of drug samples are classified into three categories (see Table 1) based on their maximum potential discriminating power. However, the classification of a technique may be lower, if the sample, analyte, or mode of operation diminishes its discriminating power.
Categories of Analytical Techniques | Table 1 | Informational Text | Categories of Analytical Techniques
Categories of Analytical Techniques | Table 1 | Informational Text | Category A Infrared Spectroscopy Mass Spectrometry Nuclear Magnetic Resonance Spectroscopy Raman Spectroscopy X-Ray Diffractometry
Categories of Analytical Techniques | Table 1 | Informational Text | Category B Capillary Electrophoresis Gas Chromatography Ion Mobility Spectrometry Liquid Chromatography Microcrystalline Tests Pharmaceutical Identifiers Thin Layer Chromatography Supercritical Fluid Chromatography Cannabis Only: Macroscopical Examination Microscopical Examination
Categories of Analytical Techniques | Table 1 | Informational Text | Category C Color Tests Fluorescence Spectroscopy Immunoassay Melting Point Ultraviolet Spectroscopy
Categories of Analytical Techniques | 5.1.1 | Informational Text | Examples of diminished discriminating power include but are not limited to:
Categories of Analytical Techniques | 5.1.1.1 | Informational Text | An infrared spectroscopy technique applied to a mixture which produces a combined spectrum, and
Categories of Analytical Techniques | 5.1.1.2 | Informational Text | A mass spectrometry technique (low or high resolution) which only produces molecular weight information.
Identification Criteria | 6 | Section Title
Identification Criteria | 6.1 | Requirement | This practice requires that the following minimum criteria be utilized when making analytical identifications:
Identification Criteria | 6.1.1 | Requirement | When a Category A technique is incorporated into an analytical scheme, at least one other technique (from either Category A, B, or C) shall be used.
Identification Criteria | 6.1.2 | Requirement | When a Category A technique is not used, at least three different techniques shall be employed. Two of the three techniques shall be from Category B.
Identification Criteria | 6.1.2.1 | Requirement | For cannabis, macroscopical and microscopical examinations will be considered as different techniques from Category B when observations include documented details of botanical features. Laboratories shall define the acceptance criteria for these features for each examination.
Identification Criteria | 6.1.2.2 | Requirement | For exhibits of cannabis that lack sufficient observable macroscopic and microscopic botanical detail (for example, extracts or residues), Δ9-tetrahydrocannabinol (THC) or other cannabinoids shall be identified utilizing the principles set forth in 6.1.1 and 6.1.2.
Identification Criteria | 6.1.3 | Requirement | Identification of botanical material may alternatively be made utilizing morphological characteristics (Category B) alone provided sufficient botanical features appropriate for identification are observed. Such examinations shall only be made by analysts competent in botanical identifications. In this context, botanical competence exclusively applies to those examiners recognized as professional botanists or those assessed to be competent by such. Identifications of chemical components contained in botanicals (mescaline, opiates, psilocin, etc.) should rely on principles of chemical identification set forth in 6.1.1 and 6.1.2.
Identification Criteria | 6.1.4 | Requirement | All Category A and botanical identifications shall have data that are reviewable. Where a Category A technique is not used, the requirement for reviewable data applies to Category B techniques. Examples of reviewable data are:
Identification Criteria | 6.1.4.1 | Informational Text | Spectra, chromatograms and photographs, and digital images or photocopies (color where appropriate) of thin layer chromatography (TLC) plates;
Identification Criteria | 6.1.4.2 | Informational Text | Contemporaneous documented peer review, photographs or digital images, for microcrystalline tests;
Identification Criteria | 6.1.4.3 | Informational Text | Recording of detailed descriptions or digital images of morphological characteristics for cannabis and botanical materials (only); and
Identification Criteria | 6.1.4.4 | Informational Text | Reference to published data for pharmaceutical identifiers.
Identification Criteria | 6.1.5 | Requirement | For the use of any method to be considered of value, test results shall corroborate each other and shall be considered “positive” (for instance, it must meet the acceptance criteria defined in the method validation operating protocol). When possible, data from a test result shall be compared to data generated from a reference material which has been analyzed under the same analytical conditions (see Practice E2327). While “negative” test results provide useful information for ruling out the presence of a particular drug or drug class, these results have little value toward establishing the forensic identification of a drug.
Identification Criteria | 6.1.6 | Requirement | The laboratory shall employ quality assurance measures to ensure the results correspond to the exhibit. Examples of quality assurance measures are:
Identification Criteria | 6.1.6.1 | Informational Text | The analysis of two or more separate portions,
Identification Criteria | 6.1.6.2 | Informational Text | Sample identification procedures such as bar-coding and witness checks, and
Identification Criteria | 6.1.6.3 | Informational Text | Good laboratory practices (for example, positive and negative controls, one sample opened at a time, procedural blanks).
Identification Criteria | 6.1.7 | Informational Text | In cases where hyphenated techniques are used (for example, gas chromatography-mass spectrometry, liquid chromatography-diode array ultraviolet spectrophotometry), they will be considered as separate techniques provided that their individual acceptance criteria are fulfilled and the results from each are used.
Identification Criteria | 6.1.8 | Requirement | The chosen analytical scheme shall demonstrate the identity of the specific drug(s) present and shall minimize false positive and false negative identification. Where a scheme has limitations, this shall be reflected in the reported result (see Practice E2764).
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Bloodstain Pattern Analysis | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Crime Scene Investigation & Reconstruction | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Digital Evidence | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Dogs & Sensors | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Facial Identification | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Fire & Explosion Investigation | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Firearms & Toolmarks | Informational Text cont'd
Footwear & Tire
Forensic Anthropology
Forensic Document Examination
Forensic Nursing
Forensic Odontology
Forensic Toxicology
Friction Ridge
Human Forensic Biology
Ignitable Liquids, Explosives, & Gunshot Residue
Interdisciplinary
Medicolegal Death Investigation
Seized Drugs
Speaker Recognition
Trace Materials
Video/Imaging Technology & Analysis
Wildlife Forensic Biology